{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["CANILLAS"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"CANILLAS","index":0,"n_rows":6,"n_cols":10,"rows_kept":6,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[{"$nulls":4},"Estación: CANILLAS"]
[]
[null,"Ubicación:",null,null,"Asignaciones de ip's y puertos "]
[]
[null,"Tipo","Elemento","Conexión externa con","Geografía","IP","GW","Mascara","VLAN","Puerto"]
[null,"Autómata","Pozo Bombas Fecales",null,"CAT Andén I","35.17.14.11","35.17.14.1","255.255.255.0",514,"NA_CANILLAS_01 - Fa0/11"]